**INSTRUCTION TO TENDERING PERSONS**

The following must be attached to the tender document:

1. V.A.T certificate
2. Certificate of incorporation
3. Current trading license
4. K.R.A Pin
5. Tax compliance certificate
6. Location of business premises
7. Proof of similar work
8. Supplier must be registered on i-tax

**ISIOLO WATER AND SEWERAGE COMPANY LTD**

**P.O.BOX 491-60300**

**ISIOLO.**

**TEL: 064-52283**

**EMAIL:isiolowater@yahoo.com**

**Website:www.iwasco.or.ke**

**TENDER DOCUMENT FOR PROVISION OF SERVICES**

**FINANCIAL YEAR 2022/2023**

**CATEGORY B**

**INSTRUCTIONS TO TENDERING PERSONS**

**The following must be attached to the tender document;**

1. V.A.T certificate
2. Certificate of incorporation
3. Current trading license
4. K.R.A Pin
5. Tax compliance certificate
6. Location of business premises
7. Proof of similar work
8. Supplier must be registered on i-tax

**Instruction for meters**

1. Meter must be co-polymer
2. Must be delivered calibrated
3. Must be delivered engraved (labeled)
4. Must give a guarantee of 2years
5. Meter must be antimagnetic
6. It must be dry dial
7. Must provide sample
8. Manufactures authorization
9. ISO certificate 4064

**Instruction for pipes**

1. Provides KEBS certificate
2. ISO Certificate 1452-9001

**ISIOLO WATER AND SEWERAGE COMPANY LTD**

**P.O.BOX 491-60300**

**ISIOLO.**

**TEL: 064-52283**

**EMAIL:isiolowater@yahoo.com**

**Website:www.iwasco.or.ke**

**TENDER DOCUMENT FOR SUPPLY AND DELIVERY OF GOOD**

**`**

**FINANCIAL YEAR 2022/2023**

**CATEGORY A**